Care Guidelines

The following suggestions are only guidelines. Contact your prosthetist before a minor problem. Contact your prosthetist before a minor problem becomes a disabling situation.

Abrasions: Wash the area with warm water and medicated lotion soap, patting dry gently. Apply a medicated skin cream and cover with a sterile gauze pad. If abrasions happen often, make certain the socket is fully dry before wearing. Should an abrasion show signs of infection, contact your doctor.

Blisters: Use the same treatment indicated for abrasions if the blister is minor and not painful. For more serious and frequently recurring blisters, see your physician. Boils and abscesses should be treated by a doctor.

Bacterial Infection: Clean the area gently and thoroughly with medicated lotion soap. Keep the site dry and let air circulate freely. If condition persists, contact your prosthetist or your doctor.

Fungal infection: Wash with medicated lotion soap and dry well. Apply a medicated skin cream and expose the infection to air as much as possible. Avoid further infections by keeping the socket absolutely clean and fully dry before wearing it again. Consult your prosthetist if problems persist.
Call If In Doubt 
It is always best to contact your prosthetist if concerns arise about skin condition or the care of any prosthetic equipment. Our staff is ready to answer your questions and eager to avert any problems before they interfere with the comfort and function that a custom-fabricated prosthesis was meant to provide. We’re here to give you the best possible care, so don’t hesitate to let us know how we may help.

GULF



Lower Extremity Prosthetic Care Guide



Office Locations:

· 540 Madison Oak #270

San Antonio, Texas 78258

(210) 495-3399
· 2000 Crawford #107

Houston, Texas 77002

(713) 739-7911

· 155 Uptown Ave, #B
Brownsville, Texas 78520
(956) 541-8419
· 1801 S. 5th, Ste 110  

McAllen, Texas 78503

· 6801 McPherson, #222

Laredo, Texas 78041

(956) 722-6487

Care Keeps Skin Healthy

The body’s best protection against infection and skin disease is its largest organ, the skin. 


Proper care of the skin is vital whether or not a person is an amputee. But for those who wear prosthesis, consistent, through hygiene helps prevent disabling skin conditions and fosters a normal, active life.  The inescapable necessity of keeping the residual limb in a socket throughout the day presents its own set of potential problems. Confined in an airless chamber, the leg does not experience normal heat loss and retention patterns. Without air circulation, accumulated heat and trapped perspiration encourage fungal development and bacterial growth. A combination of regular cleansing and the use of medicated soaps and anti-bacterial lotions will give the skin the protection it needs to stay healthy.

Clean Skin Is Basic 

A daily cleaning of the residual limb should become as routine and second nature as teeth brushing and hair combing. Cleansing is best done at day’s end since damp skin inserted in a socket is more likely to swell and become irritated.  

Thoroughly wash the skin with warm water and medicated lotion soap, using additional water to generate more lather. After the skin is completely cleaned, it should be fully rinsed, again in warm-not hot – water, since any remaining soap film contributes to skin irritation. Then towel dry gently, but completely. After cleansing and drying, it is often advisable to apply a medicated skin lotion or cream to the entire stump area. Keeping the skin supple helps it better withstand the extensive pressures exerted on it by wearing pressures exerted on it by wearing prosthesis. Using a softening lotion on a regular basis also diminishes the formation of calluses, abrasions, and extreme toughening of the skin.

Maintain Socket Hygiene

Just as it’s important to keep skin clean and supple, it’s equally necessary to wash the prosthetic socket regularly. This is best done before going to bed.

Because of its design, the socket naturally harbors bacteria, fungi, and discarded skin tissue. Above knee prostheses that include suction valves are particularly susceptible and require even greater attention. 

Again, using a medicated soap and warm water, thoroughly wet, lather, scrub, and rinse the entire surface of the socket. IN appliances with a valve, force soapy water into and around the area of the valve, rinsing well with warm, clean water. After a lengthy rinse, the socket should be completely dried with absorbent towels and allowed to ventilate overnight. Make sure the socket is absolutely dry before wearing since dampness may cause the skin to stick, rub, and become irritated.
Care of Prosthetic Socks 
An important protective barrier that also needs to be kept clean is the prosthetic sock. This garment serves as a cushion between the skin and the socket wall and contributes greatly to a comfortable, functional prosthesis. However, since the sock or socks worn absorb perspiration, a daily change is vital to skin health and hygiene. Whether washed by machine or by hand, socks need a thorough cleansing in warm water, preferably using a sanitizing lotion soap or mild detergent. They should be well rinsed in warm, clear water, preferably using a sanitizing lotion soap or mild detergent. They should be well rinsed in warm, clear water to remove any trace of soap residue, which can irritate skin tissue. This is best done in the evening so the socks fully dry overnight or, if necessary, over a period of several days.

When rinsing, excess whether should be squeezed – not wrung – from the socks. If a prosthetic sock should dry in a distorted manner, use any hard, round objects to reshape it. Sock drying forms are also available.

Sheath Needs Washing Too
The prosthetic sheath – as an interface between the skin and the prosthetic sock. It should be changed and laundered daily.

Like the socket and prosthetic socks, the sheath should be lathered with a sanitizing lotion or mild detergent, using warm water.

After a generous rinsing in warm, clear water, it should be squeezed, but not wrung out, and left to dry completely. Most sheaths are manufactured from artificial fibers, indicating delicate handling. The material air dries quickly and should be ready to wear the following day.

To prolong the life of prosthetic socks and sheaths, follow the manufacturer’s washing and drying instructions.

If Skin Problems Arise
Consistent, thorough hygiene and a well fitting prosthesis should keep skin supple and healthy. However, irritation or other problems are always a possibility. Closely monitor the appearance of skin and, if a sore or abnormal condition develops, notify your prosthetist and/or physician without delay.

Prosthetist: ____________________________
Phone: _________________________________

“Leading the Way in Prosthetic Care”
GULF





BIOMECHANICAL LABORATORY, INC.





Prosthetic & Orthotic Consultants





Orthopedic – Diabetic Footwear Specials





BIOMECHANICAL LABORATORY, INC.





GULF





Prosthetic & Orthotic Consultants





Skin Care









