## Slide 1: Ch 3 Microscopy and Identification of Microbes
Microbiology
Stephanie Lanoue
Objectives for first part of chapter 3:
List the units used to measure microorganisms.
Diagram the path of light through a compound
microscope.
3. Define total magnification and resolution.

## Slide 2
__________________ are measured in micrometers (μm) and nanometers (nm)
1 µm = 10–6 m = 10–3 mm
1 nm = 10–9 m = 10–6 mm
1000 nm = 1 µm
0.001 µm = 1 nm
Do You Know The Metric System? Do You Recognize the Abbreviation µm?

## Slide 3: Figure 3.2 Microscopes and Magnification.

## Slide 4: Figure 1.2b Anton van Leeuwenhoek's microscopic observations.
Lens
Location of
specimen on pin
Specimen-
positioning screw
Focusing control
Stage-
positioning screw
Microscope replica
First microscope
Van Leeuwenhoek
A simple microscope
the light passes through only a single lens.

## Slide 5: Key Words
Resolution
  Ability of ______ to distinguish fine detail and structure
    A microscope with a resolving power of 0.4 nm can distinguish between two points at least 0.4 nm apart
    Shorter wavelengths of light provide greater resolution
Magnification - making something look _______ than it is
Contrast
  Differences in intensity between ____ objects, or between an object and background
  Important in determining resolution
  Staining increases contrast
  Use of light that is in phase increases contrast

## Slide 6: What does it mean when a microscope has a resolution of 0.2 nm?
A microscope with a resolving power of 0.2 nm can distinguish between ____ points at least 0.2 nm apart

## Slide 7: Types of Microscopes
Light microscopy
  uses visible ______ to observe specimens
Electron microscopy
  Uses electrons

## Slide 8: Types of Light Microscopy
  Compound light microscopy
  Darkfield microscopy
  Phase-contrast microscopy
  Differential interference contrast (DIC) microscopy
  Fluorescence microscopy
  Confocal microscopy
  Compound
    Series of __________ for magnification
    Light passes through specimen into objective lens
    Oil immersion lens increases resolution
  Total magnification = magnification of objective lens X magnification of ocular lens
  Most have condenser lens
    Direct light through specimen
Compound Light Microscopes

## Slide 9: Figure 3.1a The compound light microscope.
Ocular lens
(eyepiece)
Remagnifies the
image formed by
the objective lens
Body tube Transmits
the image from the
objective lens to the
ocular lens
Arm
Objective lenses
Primary lenses that
magnify the specimen
Stage Holds the
microscope slide
in position
Condenser Focuses
light through specimen
Diaphragm Controls the amount
of light entering the condenser
Illuminator Light source
Coarse focusing knob
Base
Fine focusing knob
Principal parts and functions

## Slide 10: Figure 3.1b The compound light microscope.
Ocular lens
Line of vision
Path of light
Prism
Body tube
Objective
lenses
Specimen
Condenser
lenses
Illuminator
Base with
source of
illumination
The path of light (bottom to top)

## Slide 11: Microscopy: The Instruments
Learning Objectives continued
4. Identify a use for darkfield, phase-contrast, differential interference contrast, fluorescence, confocal, two-photon, and scanning acoustic microscopy, and compare each with brightfield illumination.
5. Explain how electron microscopy differs from light microscopy.
6. Identify uses for the transmission electron microscope (TEM), scanning electron microscope (SEM), and scanned-probe microscopes.

## Slide 12: Compound Light Microscopes continued
Brightfield illumination
  Dark objects are visible against a bright ________________
  Light reflected off the specimen does not enter the objective lens
© 2016 Pearson Education, In.

## Slide 13: Compound Light Microscopes continued
Dark-field microscopes
  Best for observing pale objects
  Specimen appears _____ against dark background
  Increases contrast and enables observation of more details
© 2016 Pearson Education, In.

## Slide 14: Compound Light Microscopes continued
Phase contrast microscopes
  Internal structure of cells become sharply ___________
  Examine living organisms
    Specimens that would be damaged/altered by attaching them to slides or staining
  Light rays in phase produce brighter image, while light rays out of phase produce darker image

## Slide 15: Compound Light Microscopes continued
Differential Interference Contrast (DIC) Microscopy
  Similar to phase-contrast
  Uses two light beams and prisms to split light beams, giving more contrast and _______ to the specimen
© 2016 Pearson Education, In.

## Slide 16: Compound Light Microscopes continued
Fluorescent microscopes
  Direct ___ light source at specimen
  Specimen absorb short wavelength
  Specimen emit long wavelength, visible wavelength

## Slide 17: Compound Light cont.
Confocal microscopes
  Stain with fluorescent _______
  Use UV ______ to illuminate fluorescent chemicals in a single plane
  Short-wavelength (blue) light is used to excite a single plane of a specimen
  Each plane in a specimen is illuminated and a three-dimensional image is constructed with a computer
  Resolution increased
    Emitted light passes through pinhole aperture
  3-D image from digitized images
© 2016 Pearson Education, In.

## Slide 18: Electron Microscopes
Electron microscopy
  Uses ________ instead of light
  The shorter wavelength of electrons gives greater resolution
  Two types
    Transmission electron microscopes (TEM)
      Chemicals containing heavy metals, staining
    Scanning electron microscopes (SEM)
© 2016 Pearson Education, In.

## Slide 19: Figure 3.10a Transmission and scanning electron microscopy.
Transmission. (Left) In a transmission electron microscope, electrons pass through the specimen and are scattered. Magnetic lenses focus the image onto a fluorescent screen or photographic plate. (Right) This colorized transmission electron micrograph (TEM) shows a thin slice of Paramecium. In this type of microscopy, the internal structures present in the slice can be seen.
Electron gun
Electron beam
Electromagnetic
condenser lens
Specimen
Electromagnetic
objective lens
Electromagnetic
projector lens
Fluorescent screen
or photographic
plate
Viewing
eyepiece

## Slide 20: Figure 3.10b Transmission and scanning electron microscopy.
Scanning. (Left) In a scanning electron microscope, primary electrons sweep across the specimen and knock electrons from its surface. These secondary electrons are picked up by a collector, amplified, and transmitted onto a viewing screen or photographic plate. (Right) In this colorized scanning electron micrograph (SEM), the surface structures of Paramecium can be seen. Note the three-dimensional appearance of this cell, in contrast to the two-dimensional appearance of the transmission electron micrograph in part (a).
Primary electron beam
Electromagnetic lenses
Electron gun
Viewing
screen
Electron
collector
Secondary
electrons
Specimen
Amplifier

## Slide 22: Scanning Electron Microscopy
Magnifies objects 1000 to 10,000; resolution of ___ nm
  Why do electron microscopes have greater resolution than light microscopes? The shorter wavelength of electrons gives greater resolution

## Slide 23: Preparation of Specimens for Light Microscopy
Learning Objectives continued
7. Differentiate an acidic dye from a basic dye.
8. Explain the purpose of simple staining.
9. List Gram stain steps, and describe the appearance of gram-positive and gram-negative cells after each step.
10. Compare and contrast the Gram stain and the acid-fast stain.
11. Explain why each of the following is used: capsule stain, endospore stain, flagella stain.

## Slide 24: Staining
Staining: coloring microorganisms with a _____ that emphasizes certain structures
  Increases contrast and resolution by coloring specimens with stains/dyes
Smear: a thin film of a material containing microorganisms spread over a _______
Microorganisms are _______ (attached) to the slide, which kills the microorganisms

## Slide 25: Preparing Smears for Staining
Stains consist of a positive and negative ions, one of which is _______ (chromophore)
  In a basic dye, the chromophore is a cation (positive charges)
  In an acidic dye, the chromophore is an anion (negative charges)
Staining the background instead of the cell is called ________ staining
© 2016 Pearson Education, In.

## Slide 26: staining
Simple Staining
  A _______ staining agent is used
    EX. Single basic dyes are frequently used
      dyes with positive charges
      Ex. crystal violet, methylene blue, safranin, malachite green etc…
Differential Staining
  ______ than one staining agent is used
    divides microorganisms into groups based on their staining properties
    Gram stain
    Acid-Fast stain

## Slide 27: Gram Stain
Classifies bacteria into gram-positive or gram-negative
  Gram-positive bacteria have _________ peptidoglycan cell walls
  Gram-negative bacteria have ______ peptidoglycan cell walls and a layer of lipopolysaccharides
Application of
crystal violet
(purple dye)
Application of
iodine (mordant)
Alcohol wash
(decolorization)
Application
of safranin
(counterstain)
Gram-positive
Gram-negative
Crystal
violet
Iodine
Alcohol
Safranin
KEY

## Slide 28: Acid-Fast Stain
Binds only to bacteria that have a ______ material in their cell walls, which is not decolorized by acid-alcohol
High ______ content in cell walls is responsible for their staining characteristics
Used for the identification of
  Mycobacterium
    e.g., Mycobacterium tuberculosis – causes tuberculosis
    e.g., Mycobacterium leprae – causes leprosy
  Nocardia
© 2016 Pearson Education, In.

## Slide 29: Acid-Fast Stain continued
 | Color of Acid-Fast | Color of Non–Acid-Fast
Primary Stain: Carbolfuchsin | _______ | Red
Decolorizing Agent: Acid-alcohol | Red | Colorless
Counterstain: Methylene Blue | Red | Blue

## Slide 30: Special Stains
Used to distinguish ______ of microorganisms
  Capsule stain
  Endospore stain
  Flagella stain

## Slide 31: Negative Staining for Capsules
Capsules are a gelatinous covering that do ____ accept most dyes
Suspension of India ink or nigrosin contrasts the background with the capsule, which appears as a halo around the cell
© 2016 Pearson Education, In.
capsule

## Slide 32: Endospore Staining
Endospores are __________, dormant structures inside some cells that cannot be stained by ordinary methods
Primary stain: malachite green, usually with heat
Decolorize cells: water
Counterstain: safranin
Spores appear green within red or pink cells
© 2016 Pearson Education, In.
endospore

## Slide 33
How do unstained endospores appear? Stained endospores?

## Slide 34: Flagella Staining
Flagella are structures of ______________
Uses a mordant and carbolfuchsin
© 2016 Pearson Education, In.
flagellum