# ORDINANCE NO. 27.89

AN ORDINANCE AMENDING OF THE SAN MATEO MUNICIPAL CODE ADDING A NEW CHAPTER 27.89 ESTABLISHING ”MINIMUM SECURITY STANDARDS-USE/OPERATIONAL”

THE CITY COUNCIL OF THE CITY OF SAN MATEO DOES ORDAIN AS FOLLOWS:

SECTION 1.  	Chapter 27.89 of the San Mateo Municipal Code is hereby added to read:

“CHAPTER 27.89: MINIMUM SECURITY STANDARDS-USE/OPERATIONAL”

Sections:

27.89.101	Short title

27.89.102 	Purpose and Intent

27.89.103 	Definitions

27.89.104	Scope

27.89.105	Minimum Security Standards - Construction

27.89.106	Special Security Measures

27.89.107	Alarm Systems

27.89.108 	Exterior Security Lighting

27.89.109 	City Communications Systems – High Rise Buildings

27.89.110 	Parking Garage Security

27.89.111	Financial Institutions

27.89.112 	Additional Security Measures May Be Required

27.89.113	Alternative Materials and Methods of Construction

27.89.114 	Tests

27.89.115 	Enforcement/ Authority

27.89.116 	Traffic Safety / Engineering

27.89.117 	Responsibility For Security In Non-Residential Buildings

    - Landscaping

    - Occupancy

    - Violations-Penalties

    - Nuisances declared-Abatement and Injunctions

    - Interpretation of the Ordinance

    - Severability

27.89.101	Short title.

This chapter shall be known and cited as the "Minimum Security Standards-Use/operational Code of the City of San Mateo."

27.89.102	Purpose and Intent.

The purpose and intent of the Standards contained herein are as follows:

- To safeguard property and to promote public welfare and safety by providing minimum security standards to be used in the design, construction, and maintenance of buildings and vehicles and the quality of materials used therein,

- To apply Crime Prevention Through Environmental Design and Defensible Space Techniques and,

- To provide a safe secure environment for all development in the city. Properties conditioned under similar codes tend to police themselves, requiring few police called for services, or the need for other city services or problem resolution assistance and,

- Properties conditioned under similar codes provide a safe, secure, environment for all users of the property, while reducing potential negative impacts on the Community. Properties conditioned tend to reduce their litigation potential for premises liability issues.

27.89.103	Definitions.

For the purpose of this chapter, the following terms, words, phrases, and their derivations shall have the meaning given in this section:

"Alarm User" means any person who owns, leases, is the agent of the owner or lessee of, or otherwise has possession or control of a premises or vehicle on which an alarm system is installed.

"Approved" means certified as meeting the requirements of this chapter by the enforcing authority or its authorized agents, or by other officials designated by law to give approval on a particular matter dealt with by the provisions of this chapter with regard to a given material, mode of constructions, piece of equipment or device.

"Audible Alarm System" means an alarm system which produces a sound capable of being heard outdoors when it is activated.

"Central station alarm" means an intrusion or robbery alarm in which the operations of electrical protection, circuits and devices are signaled automatically to be recorded in, maintained, and supervised from a central station having trained operators or guards in attendance at all times.  The central station holds all keys necessary to permit immediate entrance and search of the interior of the mercantile property by personnel responding to alarms and trouble, and alarm company personnel may be dispatched to make immediate investigation of unauthorized entry and openings of protected properties from which signals are received.

"City" means The City of San Mateo

“Class C” or "Class TL-15 safe" means burglary classification TL-15, signifying a combination-locked steel chest or money safe

designed to offer a limited degree of protection against expert burglary by common hand tools.

(a.) Safes shall weigh at least seven hundred fifty pounds, or shall be equipped with suitable anchors and instructions for anchoring in larger safes, in concrete blocks or to the premises in which located.

(b.) All safes of this class shall be equipped with a relocking device.  They shall be constructed of open hearth steel, either cast or welded plate, combined with special materials to resist carbide drills.

"Commercial building" means a building, or portion thereof, used for a purpose other than a dwelling.

"Dwelling" means a building or portion thereof designed exclusively for residential occupancy, including single family and multiple family dwellings.

"Enforcing authority" means the building official of the city with the assistance of the authorized representative of the chief of police.

"False alarm" means an alarm system signal resulting in a response by the police department when an emergency does not exist. An alarm shall be presumed to be false if the police officers responding do not locate any evidence of an intrusion or commission of an unlawful act or emergency at the premises or vehicle which might have caused the alarm to sound.

"Person" means any person, firm, partnership, association, corporation, company or organization of any kind.

“Secondary Alarm Verification” means installation of a secondary verification system in addition to perimeter sensors to reduce false alarms. Examples are CCTV, audio monitoring, visual observations, etc.

The word "shall" is mandatory, and the word "may is permissive and the word "should" is suggestive.

"Silent alarm" means an intrusion or robbery alarm system, or both, that signals off the premises without giving warning of its actuation at the location of the protected premises.

27.89.104 Scope.

(a.) The provisions of this chapter shall apply to new construction and to buildings or structures to which additions and/or alterations in excess of 500 square feet of floor area are made except as specifically provided by this chapter. (1) If the addition and/or alteration involves 500 square feet of floor area of residential structures then the entire structure, or building shall be made to conform to the security requirements for new buildings and structures. (2) If the addition or alteration involves 25 percent or more floor area for industrial/commercial buildings and structures then the entire structure or building shall be made to confirm to the security requirements for new buildings and structures.

(b.) Existing multiple family dwelling units which are converted to privately owned family units (condominiums, stock cooperatives, etc.) shall comply with the provisions governing multiple family residential buildings.

(c.) Any existing commercial structure which converts from a primarily single-tenant building to a multiple-tenant structure, with walls separating tenant spaces, shall comply with the provisions of

this chapter.

27.89.105	Minimum Security Standards-Construction

Construction related security standards for multiple family, single family, and non-residential buildings are detailed in Chapter 23.54 SMMC.

27.89.106 Special Security Measures.

(a.)	Safes.

(1.) Commercial establishments having one hundred dollars or more in cash on the premises or those businesses designated by the Police Department as having materials being highly susceptible to theft shall lock such money and materials in an approved type money safe with a minimum rating of Class “C” or TL-15.

(2.)	Those businesses subject to a high risk of robbery shall limit the available cash on hand through use of a time delay drop type money safe.

(b.)	All entrance doors to individual office suites, in multiple occupancy office buildings, shall have a deadbolt lock.

(c.)	Multiple tenant office and commercial buildings shall have floor to floor demising walls or security barriers separating individual or shared seperate tenant areas to prevent entry of adjacent space over the top of the divider.

(d.)	The interior of a business premise, while closed  after dark, shall be sufficiently lighted by use of interior night light(s) to make clearly visible the presence of any person on or about the premises.

(e).	Keying Requirements

Upon occupancy by the owner or proprietor, each single unit in a commercial development constructed under the same plan, shall have locks using combinations which are interchange free from locks used in all other separate proprietorships or similar distinct occupancies.  Tenants shall have direct access to any room or enclosure which is used to contain metering and/or switching devices for the respective tenant.

(f). Numbering of Buildings

- All structure(s)numbering shall comply with Chapter 23.04

- Each different unit within a multiple-tenant building shall have its address prominently displayed on or adjacent to its front and rear doors.

(g). Street Names and Addressing Schemes

In order to facilitate emergency dispatch response, the Police Department with cooperation of the Fire Department and the Superintendent of Streets, shall review and approve proposed street naming and addressing plans to be provided by Applicants. Approvals will consider clarity, consistency with existing schemes, and numbering principals of Feng Shui.

(h). Construction site Fencing and Security

The perimeter of the construction site shall be adequately fenced during construction, and security lighting and security patrols shall be employed to the satisfaction of the Police Department.

27.89.107	Alarm Systems.

(a.)	False Alarm Reduction

Establishments or property equipped with alarm systems of any sort shall utilize acceptable materials and assure that the system is maintained in proper working order, with attention given to preventing false alarms through human error, or equipment malfunction. Installers and users are encouraged to use secondary alarm verification elements. Alarm installers and alarm companies shall possess all required state and city licenses to operate. The Police Department reserves the right to maintain a process to identify and warn repeat offender false alarm premises and alarm providers through a reduced response and fine process for repeat false alarm violators.

No alarm system shall directly report to the Police Department 911 or Business Communication Systems. Alarm systems shall report to Alarm Central Stations, or On-Site Security offices for verification and resolution.

(b.) Limitations on Audible Alarm Systems.

(1)	It shall be unlawful to install or sell an audible alarm system which upon activation emits a sound similar to the sound emitted by sirens in use on emergency vehicles or for civil defense purposes, however this does not apply to sirens mounted inside a building which cannot be heard outside the building.  For purposes of this section, any variable siren as opposed to one steady pitch, shall be considered to emit a sound similar to the sound emitted by an emergency vehicle.

(2)	It shall be unlawful to operate an audible alarm system which does not shut off within a maximum time of 15 minutes from the time of activation.  This may be accomplished with either an automatic shutoff or by manual operation.  If the alarm has an automatic shutoff with a rearming phase, the rearming phase must be able to distinguish between an open and closed circuit, and if the circuit is broken the system shall not rearm.

(3)	For the purposes of administering this chapter, an alarm which does not shut off within the prescribed time is deemed to be unnecessary, excessive, offensive and a nuisance.

(c) Motor Vehicle Alarm Systems.

(1) An audible alarm system affixed to a motor vehicle shall be equipped with an automatic shutoff which shuts off the alarm within a maximum of 15 minutes from the time of activation.  Such alarm may not emit a sound similar to the sound emitted by sirens in use on emergency vehicles or to those used for civil defense purposes.  For purposes of this section, any variable tone, as opposed to one steady pitch, shall be considered similar to the sound emitted by an emergency vehicle siren.

- The Police Department is authorized to abate  the nuisance of an audible alarm system affixed to a motor vehicle which sounds beyond 15 minutes by using any means necessary to disconnect the vehicle alarm.  The expense of disconnecting the alarm shall be a lien against the motor vehicle and shall be the personal obligation of the owner thereof.

(d) Police Alarm Response

(1) The Police Department reserves the right to   determine alarm response policy within the City, including fines, reduced or non response to selected alarm users

(e) City Alarm Ordinance

Installers and users shall comply with the City’s Alarm Ordinance Chapter 15.26.

27.89.108	Exterior Security lighting.

(a.) Parking lots, (including parking lots with carports), driveways, circulation areas, aisles, passageways, recesses, and grounds contiguous to buildings shall be provided with high intensity discharge or fluorescent lighting with sufficient wattage to provide adequate illumination to make clearly visible the presence of any person on or about the

premises during the hours of darkness and provide a safe, secure environment for all persons, property, and vehicles on site.  Such lighting shall be equipped with vandal-resistant covers.

(1.)	All exterior doors shall be provided with their own light source and shall be adequately illuminated at all hours to make clearly visible the presence of any person on or about the premises and provide adequate illumination for persons exiting the building.

(2.)	Business premises, while closed after dark, must be sufficiently lighted by use of interior night lights.

(3.)	Exterior door, perimeter, parking area and canopy lights shall be controlled by photocell or timer and shall be left on during hours of darkness or diminished lighting.

(4.)	Parking lot lights shall remain on during the hours of darkness.

(b.)	The lighting required in subsection (a) of this section shall be installed according to project specific illumination levels prescribed and a lighting plan reviewed and approved by the Police Department and/or Building Division.  Review and approval shall be based upon criteria including but not limited to:

(1.)	The nature and use of the area within the development;

(2.)	The type of area in which the development is located;

(3.)	The hours of use of the area to be lighted;

(4.)	The frequency of use of the area to be lighted;

(5.)	Existing lighting in the area;

- Past criminal or crime related incidents in the area;

(7.)	Physical characteristics of the structure and/or development under proposed construction.

- Nothing contained in this section is to be construed as prohibiting additional types of lighting (i.e., incandescent, mercury vapor, etc.) from being used for purposes such as enhancing the beauty of the structure or landscaping, marking locations of stairways and other similar uses.  Such lighting shall not be used in lieu

of high intensity discharge or fluorescent lights for security purposes unless previously approved by the Police Department.

- Lighting levels shall comply with current Illuminating Engineering Society standards for similar levels of activity uses. The Police Department will allow for a reduction of up to 50% of the lighting level required by this section during non-operational hours to respond to energy conservation needs and sensitivity to the predominant open space character of the Community.

- The lighting system shall be so designed as to limit light spill beyond property lines and to shield the light source from view from off site.

    - City Communication System – High Rise Buildings.

All new buildings five or more stories in height shall provide a location on the building for installation of City radio communications equipment, including antennas and their supporting equipment. All electrical supply sources shall be provided by the permitee at the antenna/equipment location and reasonable access shall be provided by the permitee and/or building owner to City staff and/or City contractors for installation of necessary telephone lines and for the purposes of installation, maintenance, adjustment and repair of the antenna/equipment. This access and location agreement shall be recorded in terms that convey the intent and meaning of this condition in the form approved by the City Attorney.

    - Parking Garage Security.

## Parking garages shall be provided with electrically operated closures to allow passage of motor vehicles, except that required visitor parking shall have unrestricted access. The closures, whether overhead, sliding or swinging shall be provided with reopening devises which

## will function to stop and reopen the closure in case the closure is obstructed when closing. Openings into the garage

## which are not for vehicular or human passage shall be provided with security grilles or screens.

    - Financial Institutions.

  - General. The provisions of this section shall apply to banks, savings and loans and similar institutions.

  - Television cameras shall be required and shall be so placed as to provide full coverage of the lobby area.

  - Exit doors accessible to the public shall be provided with clearly marked height markers on the door frames. The markers, at a minimum, shall be placed at five (5) and six (6) feet above the floor.

  - Counter tops at all tellers’ stations shall be constructed of a smooth, non-porous material.

  - Automatic teller machines (ATMS) shall be positioned so as to be clearly visible from the street and shall be illuminated during hours of darkness as required.

27.89.112 Additional security measures may be required.

- Additional security measures more stringent and site specific than those stated elsewhere in this chapter may be required by other more project specific codes or by the Zoning Administrator, Planning Commission, Police Department or City Council as conditions of approval of a land use permit, entertainment permit, specific plan, or precise plan, in projects of a more complex nature than the typical residential or commercial, developments. Such additional security measures shall be made based on the fact that the project is of a highly complicated nature which may significantly and adversely affect the City's ability to respond to security and/or other emergency situations within the project.

(b.)	Such additional security requirements shall be determined by considering recommendations of City staff of specific individual characteristics of a project and the needs dictated by such characteristics.  Security measures required under this section may include, but shall not be limited to:

(1.)	Security guard systems;

(2.)	Video monitoring and recording systems;

(3.)	Card access systems;

(4.)	Site circulation, parking, and lighting systems;			(5.)	Detailed documented integrated security plans;

(6.)	Consultant services, paid for by the developer, as needed for detail plan review and systems testing;

- Other state of the art security measures, including incorporation of "defensible space" techniques.

- Crime prevention through environmental design principals

- Other operational procedures that may control negative aspects of a use.

- Alarm Systems

- Development Fees

- Elements required under this section by the Police Department shall be made attachments to the City’s Staff Report for transmittal to the Applicant and may be approved as general use permit or specific plan or precise plan or entertainment permit or administrative permit conditions, until such time as plans detailed enough are submitted for more specific conditions to be set prior to issuance of the building permit.

- Elements required under this section shall be maintained for the life of a given project as a condition to the continuing validity of a use permit, specific plan or precise plan, etc. Removal of security devices or failure to maintain systems (including security guard services) required as a condition of a use permit or specific/precise plan shall be considered a nuisance and shall be abated by procedures set forth in Chapter 7.16 on Abatement of Nuisances.

27.89.113	Alternative materials and methods of construction.

The provisions of this chapter are not intended to prevent the use of any material or method of construction not specifically prescribed by this chapter, provided any such alternate has been approved by the enforcing authority as affording the same measure of protection as those prescribed by this chapter.  Nor is it the intention of this chapter to exclude any such method of structural design or analysis not specifically

provided for in this chapter.

27.89.114	Tests.

Whenever there is evidence of insufficient compliance with the provisions of this chapter or evidence that any material or any construction does not conform to the requirements of this chapter or where it is necessary in order to substantiate claims for alternate materials or methods of construction, the

enforcing authority may require tests as proof of compliance to be made at the expense of the owner or owner's agent by an approved agency or the enforcing authority.  All tests will be made as set forth Underwriters Laboratories Publications or in another mutually agreed upon fashion.

27.89.115	Enforcement/Authority.

(a.)	Security Ordinance-Use operational

The enforcement authority shall be the Chief of Police.

(b.) Security Ordinance Construction

The Enforcement Officer shall be the Building Official with assistance of the Chief of Police, and other appropriate departments in accordance with administrative procedures adopted with the approval of the City Manager.

27.89.116 Traffic Safety/Engineering

The City Engineer and the Chief of Police shall have joint responsibility for the review of land use plans and circulation designs and shall submit recommended project conditions to the Zoning Administrator for inclusion in administrative land use permits or for inclusion in staff reports on projects requiring discretionary action by the Planning Commission or the City Council. The City Engineer and the Chief of Police shall have joint authority to review detailed construction plans and approve the specific means by which conditions will be met for discretionary projects approved by the Zoning Administrator, Planning Commission or City Council and shall insure that proper security measures are included in all ministerial projects.

27.89.117	Responsibility for security in non-residential 				buildings.

The person owning the property, any designated agent, tenant, and the general contractor for the project in question shall be jointly and severally responsible for compliance with this

chapter. Security items that will remain on the premises after a tenant moves out are typically the responsibility of the property owner; systems that are removed upon vacation of the premises, such as an alarm system, are generally the responsibility of the tenant.

    - Landscaping.

- The use of security type plant materials is encouraged (a list can be provided by the Police Department upon

request). The perimeter landscaped areas should

incorporate security type plant materials (thorny) to discourage persons from cutting through the parking areas, trampling vegetation approaching ground floor windows, or climbing perimeter fences and walls.

- Landscaping installed shall comply with Chapter 27.71.

- Landscaping shall be installed and maintained to provide maximum aesthetic quality while providing the desired degree of security. All landscape plans shall be subject to review and approval by the Zoning Administrator, Planning Commission or City Council.

27.89.119	Occupancy.

No person shall occupy buildings or portions of buildings covered by this chapter until the premises has been inspected by the Chief Building Inspector. Any temporary or permanent occupancy shall be granted by the Building Official after consultation with the Police Department to assure minimum security and safety elements under this code are in place.

27.89.120	Violations - Penalties.

Any person constructing, enlarging or maintaining any building or structure or who causes the same to be done in violation of this chapter may be charged with a misdemeanor and punished as provided in Section 36901 of the Government Code.

27.89.121	Nuisances declared - Abatement and injunctions.

Any building or structure set up, erected, constructed, altered, enlarged, converted, moved or maintained contrary to the provisions of this chapter is declared to be unlawful and a public nuisance and shall be abated persuant to the procedures set forth in Chapter 7.16 of the San Mateo Municipal Code.

27.89.122	Interpretation of the ordinance/code.

(1) If ambiguity arises concerning the content or application of the use/operational standards of the Minimum Security Standards Code, it shall be the duty of the Chief of Police to ascertain all pertinent facts and to interpret the ordinance. An interpretation by the Chief of Police may be appealed to the City Manager.

(2) Interpretation and application of security construction related standards is the duty of the Building Official.

27.89.123	Severability.

In the event any section or portion of this ordinance/code shall be determined invalid or unconstitutional, such section or portion shall be deemed severable and all other sections or portions hereof shall remain in full force and effect.

SECTION 2. Publication and Effective Date.

Pursuant to the provisions of Government Code Section 36933, a Summary of this Ordinance shall be prepared by the City Attorney.  At least five (5) days prior to the Council meeting at which this Ordinance is scheduled to be adopted, the City Clerk shall (1) publish the Summary, and (2) post in the City Clerk's Office a certified copy of this Ordinance.  Within fifteen (15) days after the adoption of this Ordinance, the City Clerk shall (1) publish the Summary, and (2) post in the City Clerk's Office a certified copy of the full text of this Ordinance along with the names of those City Council members voting for and against this Ordinance or otherwise voting.  This Ordinance shall become effective thirty days from and after its adoption

*         *         *         *

Introduced at a meeting of the City Council of the City of San Mateo, held the_____day of ____________, ____.

Adopted as an Ordinance of the City of San Mateo at a meeting of the City Council of the City of San Mateo, held the ______ day ___________________, ____, by the following vote:

AYES:____________________________________________________________

____________________________________________________________

NOES:____________________________________________________________

ABSTAIN:_________________________________________________________

ABSENT:__________________________________________________________

ATTEST:____________________________

City Clerk

As Mayor of the City of San Mateo, I do hereby approve the foregoing Ordinance this____day of______________, ____.

______________________________

Mayor